## Task_Groups
Group ID | Task Group | Applies To | Frequency
TG-001 | PLC Preventive Maintenance | CompactLogix / GuardLogix | Quarterly
TG-002 | HMI Maintenance | PanelView HMI | Quarterly
TG-003 | Industrial Network Inspection | Stratix Switches | Quarterly
TG-004 | VFD Maintenance | PowerFlex 755TS | Semi-Annual
TG-005 | Servo System Maintenance | Kinetix 5500/5700 | Semi-Annual
TG-006 | Safety System Validation | Guardmaster / GuardLogix | Quarterly
TG-007 | Light Curtain Inspection | GuardShield 450L | Monthly
TG-008 | Control Panel Inspection | All Skids | Monthly

## Task_Lists
Task Group | Task # | Task Description | Expected Result
PLC Preventive Maintenance | 1 | Verify controller health and status LEDs | No faults present
PLC Preventive Maintenance | 2 | Review controller fault logs | No unresolved faults
PLC Preventive Maintenance | 3 | Backup controller program | Current backup stored
HMI Maintenance | 1 | Verify touchscreen operation | All screens functional
HMI Maintenance | 2 | Check alarm functionality | Alarms display correctly
Industrial Network Inspection | 1 | Verify switch status and ports | All expected ports active
Industrial Network Inspection | 2 | Inspect Ethernet cables | No damage or loose connections
VFD Maintenance | 1 | Review drive diagnostics | No active faults
VFD Maintenance | 2 | Inspect cooling fans and vents | Clean and unobstructed
Servo System Maintenance | 1 | Check servo axis status | No faults
Servo System Maintenance | 2 | Inspect motor and feedback cables | Connections secure
Safety System Validation | 1 | Test E-stop circuits | Machine enters safe state
Safety System Validation | 2 | Validate guard interlocks | Safety functions operate correctly
Light Curtain Inspection | 1 | Interrupt light curtain field | Safety trip occurs
Control Panel Inspection | 1 | Inspect terminals and wiring | No loose connections
Control Panel Inspection | 2 | Inspect enclosure cleanliness | Panel clean and dry

## Asset_Task_Assignments
Asset ID | Asset Name | Assigned Task Group
SKID-01 | Discrete IO Operator Station | Control Panel Inspection
SKID-01-PLC | CompactLogix Controller | PLC Preventive Maintenance
SKID-02-VFD | PowerFlex Drive | VFD Maintenance
SKID-02-SERVO | Kinetix Servo System | Servo System Maintenance
SKID-03-PLC | Compact GuardLogix | PLC Preventive Maintenance
SKID-03-HMI | PanelView HMI | HMI Maintenance
SKID-03-SW | Industrial Ethernet Switch | Industrial Network Inspection
SKID-04-LOCK | Guard Locking Switch | Safety System Validation
SKID-05-LC | Safety Light Curtain | Light Curtain Inspection
SKID-05-RELAY | Safety Controller/Relay | Safety System Validation
SKID-06-SW | Stratix Switch | Industrial Network Inspection