## Read Me
Rockwell Demo Room - Integrated Architecture Builder Project Builder
Purpose | Structured IAB/PST build package from the provided main photo and six process-skid subpanel photos. Each backpanel is represented as a separate process skid designation with candidate Rockwell families, Ethernet devices, safety devices, VFD/motion technology, and follow-up verification actions.
Important limitation | The native Rockwell IAB project file is proprietary and should be finalized in Product Selection Toolbox. This workbook is the structured project-entry package/BOM scaffold for creating the IAB file. Catalog numbers are best-effort visual estimates and must be verified from nameplates, EPLAN drawings, or RSLogix/Studio 5000/CCW project files.
Recommended IAB entry sequence
1. Create one IAB project named MMG_Rockwell_Demo_Room_Integrated_Architecture.
2. Create one top-level location: IA-DEMO-WALL.
3. Add six process skids using the SKID_ID values in the IAB_Project_Tree sheet.
4. For each skid, add the controller/HMI/network/safety/drive sections shown in the Skid_BOM sheet.
5. Use Candidate_Catalog_Family and Verification_Note to resolve exact part numbers in PST/IAB.
6. Use Network_Map to validate EtherNet/IP topology, IP plan, and switch count.
7. Use Unknowns_To_Verify as the punch list before issuing a final IAB BOM.
Workbook sheets
IAB_Project_Tree | Process skid hierarchy and IAB entry structure.
Skid_BOM | Photo-derived component schedule by skid, category, and IAB section.
Network_Map | EtherNet/IP architecture view for controllers, HMIs, drives, safety I/O, and switches.
Safety_Drive_Summary | Focused summary of safety, VFD, and servo/motion technologies.
IAB_Entry_Notes | Actionable notes to build each skid in PST/IAB.
Unknowns_To_Verify | Required field verification before final procurement BOM.
Photo_Index | Embedded thumbnails and source photo mapping.

## Summary_Counts
Metric | Formula / Value
Total process skids
Total BOM lines
High confidence lines
Medium confidence lines
Open verification items

## IAB_Project_Tree
Level | Parent_ID | Skid_ID | IAB Node / Process Skid Designation | Application Description | Source Photo | Primary Technology | IAB Build Section | Recommended Tag Prefix | Status | Component Count
0 |  | IA-DEMO-WALL | Rockwell Integrated Architecture Demo Wall | Main demonstration wall containing six process skids and common overhead cable tray / demo-room infrastructure. | IMG_0192.jpeg | Integrated Architecture | Plant / Site | IA | Scaffold
1 | IA-DEMO-WALL | SKID-01 | PLC / Network Core Process Skid | Central PLC/network/power skid with CompactLogix-style controller, Ethernet switch/security appliance, 22 mm operator devices, protection devices, and field terminal blocks. | IMG_0196.jpeg | Controller + Network | Controller, Ethernet, Power, I/O | S01 | Scaffold
1 | IA-DEMO-WALL | SKID-02 | VFD and Motion Drive Process Skid | Drive technology skid with PowerFlex 755TS VFD, Kinetix servo drive modules, branch protection, contactors, and distributed terminal blocks. | IMG_0199.jpeg | VFD + Motion | Drives, Motion, Ethernet, Power | S02 | Scaffold
1 | IA-DEMO-WALL | SKID-03 | GuardLogix HMI Safety Process Skid | HMI and safety automation skid with PanelView, Compact GuardLogix/CompactLogix class controller, safety I/O, ArmorBlock/field I/O, and operator controls. | IMG_0201.jpeg | Safety Controller + HMI | Controller, Safety, HMI, I/O | S03 | Scaffold
1 | IA-DEMO-WALL | SKID-04 | Servo Motion Safety Cell Skid | Motion cell skid with Kinetix class servo drive, servo motor/axis hardware, safety interlocks, safety switch/guard locking, POINT I/O, and terminal marshalling. | IMG_0205.jpeg | Servo Motion + Safety | Motion, Safety, Controller, I/O | S04 | Scaffold
1 | IA-DEMO-WALL | SKID-05 | Guarding / E-Stop Safety Demonstration Skid | Machine safety demonstration skid with zone E-stops, GuardShield light curtains, Guardmaster safety switches, ArmorBlock safety I/O, and safety/status lamps. | IMG_0206.jpeg | Machine Safety | Safety, I/O, HMI-lite, Ethernet | S05 | Scaffold
1 | IA-DEMO-WALL | SKID-06 | Compact Machine Control and Drives Skid | Compact machine control skid with HMI, Stratix switch, PLC, distributed I/O, VFD/servo technology, power distribution, and linear actuator/motor load. | IMG_0209.jpeg | Compact Machine Control | Controller, HMI, Drives, Ethernet | S06 | Scaffold

## Skid_BOM
Skid_ID | Line | IAB Section | Component Category | Observed / Inferred Component | Candidate Catalog Family | Qty Estimate | Rockwell / Vendor | Confidence | Photo Evidence | Verification Note | IAB Entry Action | Fiix Asset Class
SKID-01 | 10 | Controller | PLC / PAC | CompactLogix / CompactLogix-style controller with Ethernet and I/O rack visible near top | 1769 / 5069 CompactLogix family | 1 | Allen-Bradley | Medium | IMG_0196 top center | Read controller nameplate or Studio 5000 project for exact CPU and memory option. | Add controller chassis, CPU, power supply and local I/O modules. | PLC Controller
SKID-01 | 20 | Network | Industrial firewall / security appliance | Fortinet FortiGate industrial/security appliance on lower left | FortiGate / Fortinet industrial firewall | 1 | Fortinet | High | IMG_0196 lower left | Confirm model, ports, power requirements, and whether included in IAB as non-RA device. | Add as third-party Ethernet/security device note. | Network Security Appliance
SKID-01 | 30 | Network | Industrial Ethernet switch | Small DIN-rail managed/unmanaged Ethernet switch adjacent to firewall | Stratix 2000/5700 candidate or third-party switch | 1 | Allen-Bradley / third-party | Medium | IMG_0196 lower center | Identify label and number of copper/fiber ports. | Add switch with port count and EtherNet/IP devices connected. | Ethernet Switch
SKID-01 | 40 | Power | Circuit protection | Molded case breaker and DIN rail branch protection | 140G / 1489-M / 1492-SP family | 3 | Allen-Bradley | Medium | IMG_0196 mid/lower panel | Verify voltage, current ratings and SCCR requirements. | Add main/branch protection in power distribution section. | Circuit Protection
SKID-01 | 50 | Operator Interface | 22 mm pushbuttons / pilot devices | Multi-color operator pushbuttons, illuminated indicators, mushroom E-stop | 800F / 800T / 800H family | 12 | Allen-Bradley | Medium | IMG_0196 center | Count exact NO/NC contact blocks and lamp voltages. | Add operator devices and E-stop station as accessories. | Operator Device
SKID-01 | 60 | Wiring | Terminal blocks / marshalling | DIN rail terminal block banks with patch field labeling | 1492 terminal block family | 4 | Allen-Bradley / WAGO | Medium | IMG_0196 left/right edges | Verify manufacturer and terminal count from BOM or panel drawings. | Add terminal block accessories or note as panel material. | Terminal Block Assembly
SKID-02 | 10 | Drives | VFD | PowerFlex 755TS visible with HIM keypad | PowerFlex 755TS family | 1 | Allen-Bradley | High | IMG_0199 right side | Read voltage, HP/kW, enclosure and option cards. | Add AC drive with line/load protection and network option. | Variable Frequency Drive
SKID-02 | 20 | Motion | Servo drive | Two Kinetix servo drive modules visible at upper left | Kinetix 5700 family | 2 | Allen-Bradley | High | IMG_0199 upper left | Verify bus supply / inverter module mix and current rating. | Add motion bus supply and servo axis modules. | Servo Drive
SKID-02 | 30 | Network | EtherNet/IP option cabling | EtherNet/IP cables into PowerFlex and Kinetix devices | EtherNet/IP embedded / option cards | 3 | Allen-Bradley | Medium | IMG_0199 network cabling | Verify port topology and CIP Motion requirements. | Connect drive and motion devices to associated skid switch. | Network Interface
SKID-02 | 40 | Power | Disconnect / breaker | DIN rail breaker and larger disconnect/protection device | 140M / 140G / 1492-SP family | 3 | Allen-Bradley | Medium | IMG_0199 center/right | Verify FLA, short circuit ratings, and drive input protection. | Add branch circuit protection for drive and motion axes. | Circuit Protection
SKID-02 | 50 | Motor Control | Contactor / overload | Contactor/overload assemblies at lower left | 100-C / 193-EE candidate | 2 | Allen-Bradley | Medium | IMG_0199 lower left | Read contactor and overload nameplates. | Add motor starter assemblies if used for auxiliary loads. | Motor Starter
SKID-02 | 60 | Wiring | Terminal blocks / distribution | Field terminal blocks at right and adjacent panel edges | 1492 / WAGO terminal blocks | 3 | Allen-Bradley / WAGO | Medium | IMG_0199 right side | Confirm terminal counts and sensor/drive I/O mapping. | Add as panel terminal assemblies. | Terminal Block Assembly
SKID-03 | 10 | HMI | PanelView operator terminal | Allen-Bradley PanelView-style HMI displaying station test screen | PanelView Plus 7 / PanelView 5510 family | 1 | Allen-Bradley | High | IMG_0201 upper left | Read HMI rear label for series, screen size, and Ethernet ports. | Add HMI with mounting and power accessories. | HMI
SKID-03 | 20 | Controller | Safety PLC | Compact GuardLogix 5380 class controller with safety cards visible | Compact GuardLogix 5380 / 5069 family | 1 | Allen-Bradley | High | IMG_0201 lower center | Verify CPU, safety task support, memory and licensing. | Add safety controller and local safety/standard I/O. | Safety PLC
SKID-03 | 30 | I/O | Safety and standard I/O | Local 5069 I/O modules and field I/O blocks | 5069 Compact I/O / POINT I/O / ArmorBlock family | 6 | Allen-Bradley | Medium | IMG_0201 lower center/right | Identify exact module catalog numbers and channel counts. | Add local and distributed I/O modules. | I/O Module
SKID-03 | 40 | Network | Industrial computer / gateway | Small Allen-Bradley industrial computer or gateway beneath HMI | ASEM / VersaView / ThinManager-ready industrial computer candidate | 1 | Allen-Bradley | Medium | IMG_0201 under HMI | Read nameplate for exact platform and whether it is IPC, thin client, or gateway. | Add as industrial computer / HMI accessory. | Industrial Computer
SKID-03 | 50 | Network | Managed Ethernet switch | Blue managed switch / network appliance at lower left | Stratix / third-party managed switch | 1 | Allen-Bradley / third-party | Medium | IMG_0201 lower left | Confirm switch make, model and port count. | Add switch and Ethernet drops. | Ethernet Switch
SKID-03 | 60 | Operator Interface | Selector switches / pushbuttons | Three-position selector switches and pushbuttons on black operator plate | 800F / 800T family | 8 | Allen-Bradley | Medium | IMG_0201 right side | Verify contact block mix and lamp voltages. | Add operator device station. | Operator Device
SKID-03 | 70 | Safety | Safety I/O block / M12 connectivity | M12 field I/O block with yellow safety leads | ArmorBlock Guard I/O / 1732ES family | 1 | Allen-Bradley | High | IMG_0201 lower right | Verify safety input/output channel count. | Add distributed safety I/O block. | Safety I/O
SKID-04 | 10 | Motion | Servo drive | Kinetix drive module(s) and motor cabling feeding axis fixture | Kinetix 5500 / 5700 family | 2 | Allen-Bradley | High | IMG_0205 upper center | Read module labels for exact family and current ratings. | Add servo drive axis set with motor feedback and power cables. | Servo Drive
SKID-04 | 20 | Motion | Servo motor / axis assembly | Servo motor and guarded linear/rotary test fixture | Kinetix VP / MPL motor family candidate | 1 | Allen-Bradley | Medium | IMG_0205 lower left | Read motor nameplate and axis mechanics. | Add motor, cables, feedback and mechanical load notes. | Servo Motor
SKID-04 | 30 | Controller | Distributed controller / I/O | POINT I/O rack and controller/safety modules visible at upper right | 1734 POINT I/O / 5069 Compact I/O candidate | 1 | Allen-Bradley | Medium | IMG_0205 upper right | Verify whether rack is controller, adapter, or remote I/O. | Add adapter and modules with point counts. | I/O Assembly
SKID-04 | 40 | Safety | Guard locking / safety switch | Red Guardmaster-style safety locking/safety switch on guard door | 440G / 440N Guardmaster family | 1 | Allen-Bradley | High | IMG_0205 lower center/right | Verify OSSD, locking force, and actuator type. | Add guard locking switch and safety wiring. | Safety Switch
SKID-04 | 50 | Safety | Safety interlock sensor | Red safety sensor/actuator mounted to sliding guard | 440N / 440G / Guardmaster family | 1 | Allen-Bradley | High | IMG_0205 center lower | Verify sensor type and safety rating. | Add safety sensor with matching actuator. | Safety Sensor
SKID-04 | 60 | Operator Interface | Pushbutton / E-stop station | Pushbutton station with red/blue/black/E-stop buttons | 800F / 800T family | 1 | Allen-Bradley | Medium | IMG_0205 right side | Verify contact blocks and E-stop reset design. | Add operator station. | Operator Device
SKID-04 | 70 | Wiring | Terminal blocks / safety marshalling | Field terminal blocks on right with safety/standard wiring | 1492 / WAGO terminal blocks | 2 | Allen-Bradley / WAGO | Medium | IMG_0205 right side | Verify terminal counts and labeling. | Add terminal assemblies. | Terminal Block Assembly
SKID-05 | 10 | Safety | Safety light curtains | Two Allen-Bradley GuardShield light curtain columns | GuardShield 450L / 440L family | 2 | Allen-Bradley | High | IMG_0206 left and right vertical devices | Read model height, resolution, range and muting/cascading details. | Add transmitter/receiver pair with brackets and cables. | Light Curtain
SKID-05 | 20 | Safety | Guardmaster safety interlocks | Multiple red Guardmaster safety switch/sensor devices | 440N / 440G / 440K Guardmaster family | 5 | Allen-Bradley | High | IMG_0206 center | Confirm individual switch function, OSSD/contacts and actuator types. | Add each safety switch as a guarding device. | Safety Switch
SKID-05 | 30 | Safety | Zone E-stops | Zone 1, Zone 2 and master E-stop stations | 800F / 800T E-stop family | 3 | Allen-Bradley | High | IMG_0206 left and lower center | Verify dual-channel contact configuration and reset logic. | Add emergency stop devices and reset station. | Emergency Stop
SKID-05 | 40 | Safety | Safety I/O / ArmorBlock | M12 safety/standard I/O blocks at lower left | 1732ES ArmorBlock Guard I/O candidate | 2 | Allen-Bradley | High | IMG_0206 lower left | Verify safety input and output point count. | Add distributed safety I/O block(s). | Safety I/O
SKID-05 | 50 | Operator Interface | Status indicators | Zone indicator pilot lights and colored pushbuttons | 800F / 800T pilot light family | 6 | Allen-Bradley | Medium | IMG_0206 left | Verify lamp voltage and status mapping. | Add pilot devices. | Operator Device
SKID-05 | 60 | Wiring | Terminal block marshalling | DIN rail terminal block bank at lower right | 1492 / WAGO terminal blocks | 1 | Allen-Bradley / WAGO | Medium | IMG_0206 lower right | Confirm terminal block count and jumper scheme. | Add terminal assemblies. | Terminal Block Assembly
SKID-06 | 10 | HMI | PanelView HMI | Allen-Bradley HMI showing machine overview | PanelView Plus / PanelView 800 family | 1 | Allen-Bradley | High | IMG_0209 lower center | Read rear label for display size, family and power. | Add HMI and accessories. | HMI
SKID-06 | 20 | Controller | Compact machine controller | PLC/controller assembly at upper center with I/O modules | Micro800 / CompactLogix / Compact GuardLogix candidate | 1 | Allen-Bradley | Medium | IMG_0209 upper center | Read controller faceplate and project file to distinguish Micro800 vs CompactLogix. | Add controller and local I/O modules. | PLC Controller
SKID-06 | 30 | Network | Managed switch | Allen-Bradley Stratix switch visible mid-left | Stratix 5700 / Stratix 5200 candidate | 1 | Allen-Bradley | High | IMG_0209 middle left | Read exact switch model and port count. | Add managed switch with Ethernet ports. | Ethernet Switch
SKID-06 | 40 | Motion | Linear actuator / motor load | Vertical actuator/servo or linear motion assembly on left | Kinetix servo motor / actuator candidate | 1 | Allen-Bradley / third-party | Medium | IMG_0209 left | Read actuator and motor labels. | Add motor/load as driven equipment. | Actuator
SKID-06 | 50 | Drives | VFD / servo drive | Drive technology at upper right with Ethernet and power cabling | PowerFlex 520 / Kinetix candidate | 1 | Allen-Bradley | Medium | IMG_0209 upper right | Read drive label to confirm VFD vs servo drive family and size. | Add drive module and branch protection. | Drive
SKID-06 | 60 | Power | Power supply and circuit protection | DIN rail DC power supply, breakers, contactors and branch protection | 1606-XLE / 1492-SP / 100-C family | 5 | Allen-Bradley | Medium | IMG_0209 upper/middle panel | Verify voltage/current ratings and protective device sizes. | Add power supply and branch protection. | Power Distribution
SKID-06 | 70 | I/O | Distributed I/O and terminals | Terminal block and field wiring assemblies on right | 1734/5069/1492/WAGO candidate | 3 | Allen-Bradley / WAGO | Medium | IMG_0209 right | Verify module and terminal count. | Add I/O and terminal assemblies. | I/O Assembly
Note on F2: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F3: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F4: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F5: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F6: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F7: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F8: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F9: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F10: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F11: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F12: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F13: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F14: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F15: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F16: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F17: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F18: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F19: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F20: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F21: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F22: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F23: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F24: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F25: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F26: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F27: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F28: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F29: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F30: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F31: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F32: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F33: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F34: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F35: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F36: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F37: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F38: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F39: Visual estimate from uploaded panel photo; verify before final IAB BOM.
Note on F40: Visual estimate from uploaded panel photo; verify before final IAB BOM.

## Network_Map
Skid_ID | Device Role | Likely Device | Connection Type | Likely Connected To | IP / Node Placeholder | CIP Safety / CIP Motion | Notes
SKID-01 | PLC | CompactLogix-style controller | EtherNet/IP | Skid switch / IA demo wall network | 10.10.1.10 | No | Core PLC/network skid.
SKID-01 | Firewall | Fortinet appliance | Ethernet | Plant/demo upstream network | 10.10.1.1 | No | Treat as demarcation or demo cybersecurity node.
SKID-02 | PowerFlex 755TS | AC drive | EtherNet/IP | Skid switch | 10.10.2.20 | No | Confirm embedded dual-port or option card.
SKID-02 | Kinetix 5700 | Servo axes | EtherNet/IP/CIP Motion | Motion controller | 10.10.2.30-31 | CIP Motion | Controller assignment to verify.
SKID-03 | GuardLogix controller | Safety PLC | EtherNet/IP | Skid switch | 10.10.3.10 | CIP Safety | Safety task and safety signature to verify.
SKID-03 | PanelView HMI | Operator interface | EtherNet/IP | Skid switch | 10.10.3.50 | No | Runtime application displayed.
SKID-03 | ArmorBlock safety I/O | Distributed safety I/O | EtherNet/IP | GuardLogix controller | 10.10.3.70 | CIP Safety | M12 safety block visible.
SKID-04 | Servo drive | Servo axis | EtherNet/IP/CIP Motion | Controller / switch | 10.10.4.30 | CIP Motion | Axis fixture and safety interlocks.
SKID-04 | Guardmaster device | Guard locking / safety switch | OSSD or safety contacts | Safety I/O / safety controller | N/A | CIP Safety via I/O | Panel wiring must verify channel mapping.
SKID-05 | GuardShield light curtain | Safety presence sensing | OSSD / safety I/O | ArmorBlock safety I/O | N/A | CIP Safety via I/O | Two light curtain columns.
SKID-05 | ArmorBlock Guard I/O | Safety I/O | EtherNet/IP | Safety controller | 10.10.5.70 | CIP Safety | Controller location to verify.
SKID-06 | Stratix switch | Managed switch | Ethernet | IA demo wall network | 10.10.6.2 | No | Visible Allen-Bradley switch.
SKID-06 | HMI | PanelView | EtherNet/IP | Skid switch | 10.10.6.50 | No | Machine overview display.
SKID-06 | Drive / motion device | VFD or servo drive | EtherNet/IP | Skid switch | 10.10.6.20 | Maybe | Confirm exact device type.

## Safety_Drive_Summary
Skid_ID | Technology Area | Observed Devices | IAB/PST Family to Start With | Qty | Critical Verification | Recommended Output
SKID-02 | VFD | PowerFlex 755TS | PowerFlex 755TS | 1 | Voltage, HP/kW, frame, HIM, STO, network option | Drive BOM with line/load protection
SKID-02 | Motion | Kinetix drive modules | Kinetix 5700 | 2 | Axis count, bus supply vs inverter modules, motor pairings | CIP Motion axis schedule
SKID-03 | Safety PLC | Compact GuardLogix class controller and safety I/O | Compact GuardLogix 5380 / 5069 safety I/O | 1 | CPU, safety modules, safety network number | Safety controller BOM
SKID-04 | Motion Safety | Kinetix drive, servo motor, guard switch | Kinetix + Guardmaster | 1 | Motor catalog, drive rating, safe torque off wiring | Servo safety axis BOM
SKID-05 | Machine Safety | GuardShield, Guardmaster, E-stops, safety I/O | GuardShield 450L/440L, Guardmaster, ArmorBlock Guard I/O | 1 | Safety device model heights, OSSD/contact wiring, reset logic | Safety device schedule
SKID-06 | Compact Control / Drives | HMI, Stratix switch, drive/axis hardware | PanelView, Stratix, PowerFlex/Kinetix candidate | 1 | Controller and drive family from nameplates | Machine control BOM

## IAB_Entry_Notes
Step | Area | Instruction | Responsible Role | Done
1 | Project setup | Create PST/IAB project: MMG_Rockwell_Demo_Room_Integrated_Architecture. Use six Process Skid designations under IA-DEMO-WALL. | Controls Engineer | No
2 | SKID-01 | Add controller, Ethernet switch/security device, power distribution, operator devices and terminal block assemblies. | Controls Engineer | No
3 | SKID-02 | Add PowerFlex 755TS drive and Kinetix motion modules. Resolve HP/kW, frame, voltage and axis count before pricing. | Drives Specialist | No
4 | SKID-03 | Add GuardLogix/CompactLogix controller, PanelView HMI, safety I/O, field I/O block and managed switch. | Safety / Controls Engineer | No
5 | SKID-04 | Add servo drive, servo motor/axis hardware, guard locking switch, safety sensor and operator station. | Motion Specialist | No
6 | SKID-05 | Add light curtain pair, Guardmaster switches, E-stops, safety I/O blocks and status indicators. | Safety Specialist | No
7 | SKID-06 | Add HMI, PLC/controller, Stratix switch, drive/motion device, actuator, power supply and branch protection. | Controls Engineer | No
8 | Network | Build a port map for every Ethernet device, reserve uplink ports and add managed switch accessories as required. | Network Engineer | No
9 | SCCR / Power | Validate breaker/contactor/drive combinations with SCCR, UL 508A, load current and available fault current. | Panel Designer | No
10 | Final review | Replace all candidate families with exact catalog numbers from nameplates, existing drawings or Studio 5000/CCW/DriveExecutive files. | Project Lead | No

## Unknowns_To_Verify
Priority | Skid_ID | Item | Why It Matters | How to Verify | Owner | Status
High | ALL | Exact controller catalog numbers and firmware | IAB must select exact CPU, memory, safety capability and accessories. | Nameplates, Studio 5000 project properties, controller web pages. | Controls | Open
High | SKID-02 | PowerFlex 755TS ratings | Pricing and protection depend on voltage, HP/kW, frame, STO, and network options. | Drive nameplate and parameter upload. | Drives | Open
High | SKID-02/SKID-04 | Kinetix drive/motor pairings | Axis sizing and cable accessories require exact drive and motor catalog numbers. | Drive label, motor label, motion axis configuration. | Motion | Open
High | SKID-03/SKID-05 | Safety I/O and safety device channel counts | CIP Safety signatures and safety validation require exact modules and channel mapping. | Panel drawings, safety program, physical labels. | Safety | Open
Medium | ALL | Ethernet switch models and port counts | IAB network bill must include sufficient ports, uplinks and spare capacity. | Switch labels and network drawings. | Network | Open
Medium | ALL | Terminal block manufacturer/count | Terminal blocks may be non-Rockwell and may be excluded or added as panel materials. | Panel drawing or count from high-res closeups. | Panel Design | Open
Medium | ALL | Power supply voltages and load calculations | 24 VDC supply sizing and branch protection must be validated. | Power supply labels, I/O load calculations. | Panel Design | Open
Low | ALL | Non-Rockwell third-party devices | IAB may need placeholder or notes for Fortinet/WAGO/other devices. | Device labels and procurement list. | Project Lead | Open

## Photo_Index
Skid_ID | Source Photo | Description | Embedded Thumbnail
MAIN | IMG_0192.jpeg | Main group photo showing full Rockwell demo room wall with six process skid backpanels.
SKID-01 | IMG_0196.jpeg | PLC/network core process skid closeup.
SKID-02 | IMG_0199.jpeg | VFD and Kinetix motion drive process skid closeup.
SKID-03 | IMG_0201.jpeg | GuardLogix/HMI safety process skid closeup.
SKID-04 | IMG_0205.jpeg | Servo motion safety cell process skid closeup.
SKID-05 | IMG_0206.jpeg | Guarding/E-stop safety demonstration process skid closeup.
SKID-06 | IMG_0209.jpeg | Compact machine control and drives process skid closeup.